## INLET Inspection Schema
MS4 INLET INSPECTION SCHEMA (V. 0.2, DRAFT)
Element # | Name/Alias | Database Name | Type | Width | Inclusion | Domain | Description
MS4_IN.PK | Primary Key (ID of Inspection Report) | IN_PKEY | Text | 150 | Mandatory |  | Primary key (ID for the inspection record)
MS4_IN.FK | Foreign Key (ID of Asset Inspected) | IN_FKEY | Text | 150 | Conditional |  | Foreign key (ID of the asset being inspected)
MS4_IN.01 | Inspection Date | INSP_DATE | Date | Default | Mandatory |  | Date of inspection
MS4_IN.02 | Inspector | IN_INSPEC | Text | 254 | Mandatory |  | Name of inspector
MS4_IN.03 | Agency | IN_AGENCY | Text | 254 | Mandatory |  | Name of agency conducting inspection
MS4_IN.04 | Temperature | IN_TEMP | Double | Default | Conditional |  | Temperature in degrees Fahrenheit
MS4_IN.05 | Rainfall in Last 24hrs | IN_RAIN24 | Double | Default | Conditional |  | Rainfall in last 24 hours in inches
MS4_IN.06 | Rainfall in Last 48hrs | IN_RAIN48 | Double | Default | Conditional |  | Rainfall in last 48 hours in inches
MS4_IN.07 | Flow Present | IN_FLOWPRE | Text | 3 | Conditional | ms4YesNo | Yes/no flag if flow is present
MS4_IN.08 | Flow Description | IN_FLOWDESC | Text | 12 | Conditional | ms4FlowDescription | Flow description
MS4_IN.09 | Odor | IN_ODOR | Text | 16 | Conditional | ms4Odor | Odor detected
MS4_IN.10 | Odor Severity | IN_ODORSV | Text | 24 | Conditional | ms4OdorSeverity | Severity of odor detected
MS4_IN.11 | Color | IN_COLOR | Text | 6 | Conditional | ms4Color | Color of water
MS4_IN.12 | Color Severity | IN_COLORSV | Text | 32 | Conditional | ms4ColorSeverity | Severity of color detected
MS4_IN.13 | Turbidity Severity | IN_TURBSV | Text | 18 | Conditional | ms4TurbiditySeverity | Severity of turbidity
MS4_IN.14 | Floatables | IN_FLOAT | Text | 18 | Conditional | ms4Floatables | Floatables detected, not including trash
MS4_IN.15 | Floatables Severity | IN_FLOATSV | Text | 8 | Conditional | ms4FloatablesSeverity | Severity of floatables detected
MS4_IN.16 | Inlet Damage | IN_DAMAGE | Text | 30 | Conditional | ms4Damage | Damage noted
MS4_IN.17 | Deposits or Stains | IN_DSTAIN | Text | 9 | Conditional | ms4DepositsStains | Deposits or stains noted
MS4_IN.18 | Abnormal Vegetation | IN_ABVEG | Text | 9 | Conditional | ms4AbVegetation | Abnormal vegetation growth
MS4_IN.19 | Debris | IN_DEBRIS | Text | 8 | Conditional | ms4Debris | Presence of debris, garbage or brush
MS4_IN.20 | Illicit Discharge Characteristics | IN_ILCHAR | Text | 9 | Conditional | ms4Characteristic | Likelihood that illicit discharge exists
MS4_IN.21 | MS4 Inlet Inspection Notes | IN_NOTES | Text | 254 | Optional |  | MS4 inspection notes or comments
MS4_IN.22 | Sample Collected | IN_SAMPCOL | Text | 3 | Conditional | ms4YesNo | Sample collected
MS4_IN.23 | Overall Condition | IN_OVERCN | Text | 2 | Conditional | ms4Condition | Overall condition
MS4_IN.24 | Condition Notes | IN_CNOTES | Text | 254 | Conditional |  | Condition notes
MS4_IN.25 | Maintenance Required | IN_MNTREQ | Text | 3 | Conditional | ms4YesNo | Maintenance required
MS4_IN.26 | Maintenance Required Notes | IN_MNTNOTE | Text | 254 | Optional |  | Maintenance required notes
Reference:
The following elements were removed from the first version of the combined Inlet/Outfall version of the schema, but they are retained in the separate Outfall schema
REMOVED | Submerged | SUBMERGED | Text | 9 |  | ms4Status | Outfall filled with water
REMOVED | Sediment | SEDIMENT | Text | 9 |  | ms4Status | Outfall filled with sediment
REMOVED | Poor Pool Quality | PPOOL_QUAL | Text | 15 |  | ms4PPQuality | Poor pool quality noted
REMOVED | Pipe Flowline Growth | PIPE_FLGR | Text | 6 |  | ms4PFGrowth | Growth at the pipe flowline noted
REMOVED | Sample Collected From | SAMPLE_CFR | Text | 4 |  | ms4SampleCollectedFrom | Sample collected from

## OUTLET Inspection Schema
MS4 OUTLET INSPECTION SCHEMA (v. 0.2, DRAFT)
Element # | Name/Alias | Database Name | Type | Width | Inclusion | Domain (see tabs at bottom) | Description
MS4_OUT.PK | Primary Key (ID of Inspection Report) | O_PKEY | Text | 150 | Mandatory |  | Primary key (ID for the inspection record)
MS4_OUT.FK | Foreign Key (ID of Asset Inspected) | O_FKEY | Text | 150 | Conditional |  | Foreign key (ID of the asset being inspected)
MS4_OUT.01 | Inspection Date | O_INSDATE | Date | Default | Mandatory |  | Date of inspection
MS4_OUT.02 | Inspector | O_INSPCR | Text | 254 | Mandatory |  | Name of inspector
MS4_OUT.03 | Agency | O_AGENCY | Text | 254 | Mandatory |  | Name of agency
MS4_OUT.04 | Presence of Outfall | O_OUTFALL | Text | 7 | Mandatory | ms4YesNoUnknown | The site is an outfall
MS4_OUT.05 | Temperature | O_TEMP | Double | Default | Conditional |  | Temperature in degrees Fahrenheit
MS4_OUT.06 | Rainfall in Last 24hrs | O_RAIN24 | Double | Default | Conditional |  | Rainfall in last 24 hours in inches
MS4_OUT.07 | Rainfall in Last 48hrs | O_RAIN48 | Double | Default | Conditional |  | Rainfall in last 48 hours in inches
MS4_OUT.08 | Submerged | O_SUBMRG | Text | 9 | Conditional | ms4OutStatus | Outfall filled with water
MS4_OUT.09 | Sediment | O_SEDIM | Text | 9 | Conditional | ms4OutStatus | Outfall filled with sediment
MS4_OUT.10 | Flow Present | O_FLOWPRES | Text | 7 | Conditional | ms4YesNoUnknown | Yes/no flag if flow is present
MS4_OUT.11 | Flow Description | O_FLOWDSC | Text | 12 | Conditional | ms4FlowDescription | Flow description
MS4_OUT.12 | Odor | O_ODOR | Text | 16 | Conditional | ms4Odor | Odor detected
MS4_OUT.13 | Odor Severity | O_ODORSV | Text | 24 | Conditional | ms4Odor Severity | Severity of odor detected
MS4_OUT.14 | Color | O_COLOR | Text | 6 | Conditional | ms4Color | Color of water
MS4_OUT.15 | Color Severity | O_COLORSV | Text | 31 | Conditional | ms4ColorSeverity | Severity of color detected
MS4_OUT.16 | Turbidity Severity | O_TURBSV | Text | 18 | Conditional | ms4TurbiditySeverity | Severity of turbidity
MS4_OUT.17 | Floatables | O_FLOAT | Text | 18 | Conditional | ms4Floatables | Floatables detected, not including trash
MS4_OUT.18 | Floatables Severity | O_FLOATSV | Text | 30 | Conditional | ms4FloatablesSeverity | Severity of floatables detected
MS4_OUT.19 | Outfall Damage | O_DAMAGE | Text | 30 | Conditional | ms4Damage | Damage noted
MS4_OUT.20 | Deposits or Stains | O_DSTAIN | Text | 9 | Conditional | ms4DepositsStains | Deposits or stains noted
MS4_OUT.21 | Abnormal Vegetation | O_ABVEG | Text | 9 | Conditional | ms4AbVegetation | Abnormal vegetation growth
MS4_OUT.22 | Poor Pool Quality | O_PPQUAL | Text | 15 | Conditional | ms4PPQuality | Poor pool quality noted
MS4_OUT.23 | Pipe Flowline Growth | O_PFLGR | Text | 6 | Conditional | ms4PFGrowth | Growth at the pipe flowline noted
MS4_OUT.24 | Debris | O_DEBRIS | Text | 8 | Conditional | ms4Debris | Presence of debris, garbage or brush
MS4_OUT.25 | Illicit Discharge Characteristics | O_ILCHAR | Text | 9 | Conditional | ms4Characteristic | Likelihood that illicit discharge exists
MS4_OUT.26 | MS4 Outfall Inspection Notes | O_INSNOTES | Text | 254 | Optional |  | MS4 inspection notes or comments
MS4_OUT.27 | Sample Collected | O_SAMPCOL | Text | 3 | Conditional | ms4YesNo | Sample collected
MS4_OUT.28 | Sample Collected From | O_SAMPCFR | Text | 7 | Conditional | ms4SampleCollectedFrom | Sample collected from
MS4_OUT.29 | Overall Condition | O_OVERCN | Text | 2 | Conditional | ms4Condition | Overall condition
MS4_OUT.30 | Condition Notes | O_CNOTES | Text | 254 | Optional |  | Condition notes
MS4_OUT.31 | Maintenance Required | O_MNTREQ | Text | 3 | Conditional | ms4YesNo | Maintenance required
MS4_OUT.32 | Maintenance Required Notes | O_MNTNOTE | Text | 254 | Optional |  | Maintenance required notes

## ms4YesNoUnknown
CODE | VALUE
Yes | Yes
No | No
Unknown | Unknown

## ms4YesNo
CODE | VALUE
Yes | Yes
No | No

## ms4OutStatus
CODE | VALUE
No | No
Partially | Partially
Fully | Fully

## ms4FlowDescription
CODE | VALUE
Trickle | Trickle
Moderate | Moderate
Substantial | Substantial

## ms4Odor
CODE | VALUE
None | None - no odor detected
Petroleum or gas | Petroleum or gas
Rancid or sour | Rancid or sour
Sewage | Sewage
Sulfide | Sulfide
Other | Other

## ms4OdorSeverity
CODE | VALUE
Faint | Faint
Easily detected | Easily detected
Noticeable at a distance | Noticeable at a distance

## ms4Color
CODE | VALUE
Brown | Brown
Clear | Clear
Gray | Gray
Green | Green
Orange | Orange
Red | Red
Yellow | Yellow
Other | Other

## ms4ColorSeverity
CODE | VALUE
Faint colors in sample bottle | Faint colors in sample bottle
Clearly visible in sample bottle | Clearly visible in sample bottle
Clearly visible in outlet flow | Clearly visible in outlet flow

## ms4TurbiditySeverity
CODE | VALUE
Slight cloudiness | Slight cloudiness
Cloudy | Cloudy
Opaque | Opaque

## ms4Floatables
CODE | VALUE
Sewage indicators | Sewage indicators such as toilet paper
Petroleum | Petroleum indicators such as oily sheen
Suds | Suds present
Other | Other

## ms4FloatablesSeverity
CODE | VALUE
Low | Low/slight or not obvious indications
Medium | Some/moderate indications of floatables
Heavy | Clear and present indications of floatables

## ms4Damage
CODE | VALUE
Corrosion | Corrosion
Peeling Paint | Peeling Paint
Spalling | Spalling
Cracking | Cracking
Chipping | Chipping
Combination | More than one deterioration category present
Other | Other type of damage is present

## ms4DepositsStains
CODE | VALUE
Oily | Oily
Flow Line | Flow Line
Paint | Paint
Other | Other

## ms4AbVegetation
CODE | VALUE
Excessive | Excessive
Inhibited | Inhibited
Other | Other

## ms4Debris
CODE | VALUE
None | None
Brush | Brush
Garbage | Garbage
Other | Other

## ms4PPQuality
CODE | VALUE
Colors | Colors
Excessive algae | Excessive algae
Floatables | Floatables
Odors | Odors
Oil sheen | Oil sheen
Suds | Suds
Other | Other

## ms4PFGrowth
CODE | VALUE
Brown | Brown
Green | Green
Orange | Orange
Other | Other
Note on B2: Carrie Magnuson: Should these be colors? Description in OUTLET is "Growth at the pipe flowline noted"

## ms4Characteristic
CODE | VALUE
Unlikely | Unlikely that there is illicit discharge
Potential | Presense of two or more indicators
Suspect | One or more indicators with a high severity
Obvious | Obvious illicit discharge
Note on B3: Carrie Magnuson: Presence

## ms4SampleCollectedFrom
CODE | VALUE
Flow | Flow
Pool | Pool
Other | Other
Unknown | Unknown

## ms4Condition
CODE | VALUE
NA | Not Applicable
NI | Not Inspected
0 | Not a Problem
1 | Monitor (potential for future problems exists)
2 | Routine Maintenance Required
3 | Immediate Repair Necessary

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only